| PIC16F877A-Pins |  |  | Variable name |  |  |  | IN | OUT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RB0 |  |  | AA |  |  |  |  | X |
| RB1 |  |  | BB |  |  |  |  | X |
| RA0 |  |  | CC |  |  |  |  | X |
| RD0 |  |  | IR |  | SWITCH |  | X |  |
| RD1 |  |  | HE |  | SWITCH |  | X |  |
| RD2 |  |  | CF |  | SWITCH |  | X |  |
| RD3 |  |  | CM |  | SWITCH |  | X |  |
| RD4 |  |  | EVLO |  | SWITCH |  | X |  |
| RD5 |  |  | EVHI |  | SWITCH |  | X |  |
| RD6 |  |  | SSV |  | SWITCH |  | X |  |
| RD7 |  |  | LX2 |  | SWITCH |  | X |  |
| RA1 |  |  | DEFROST |  | SWITCH |  | X |  |
| RA2 |  |  | INRANGE |  | SWITCH |  | X |  |
| RA3 |  |  | ALARM |  | SWITCH |  | X |  |
| RA4 |  |  | SUPPLY |  | SWITCH |  | X |  |
| RA5 |  |  | RETURN |  | SWITCH |  | X |  |
| RC0 |  |  | COOL |  | SWITCH |  | X |  |
| RC1 |  |  | HEAT |  | SWITCH |  | X |  |
| RB2 |  |  | RS - DISPLY |  |  |  |  |  |
| RB3 |  |  | ENABLE - DISPLY |  |  |  |  |  |
| RB4 |  |  | DATA 4 - DISPLY |  |  |  |  |  |
| RB5 |  |  | DATA 3 - DISPLY |  |  |  |  |  |
| RB6 |  |  | DATA 2 - DISPLY |  |  |  |  |  |
| RB7 |  |  | DATA 1 - DISPLY |  |  |  |  |  |
| RE0 |  |  | MM |  |  |  |  | X |
| RE1 |  |  | NN |  |  |  |  | X |
| RE2 |  |  | MDEF |  |  |  |  | X |
| RC2 |  |  | CS-SHDN (A/D-MCP3204) |  |  |  |  |  |
| RC3 |  |  | CLK (A/D-MCP3204) |  |  |  |  |  |
| RC4 |  |  | Dout (A/D-MCP3204) |  |  |  |  |  |
| RC5 |  |  | Din (A/D-MCP3204) |  |  |  |  |  |
| RC6 |  |  | TX |  |  |  |  |  |
| RC7 |  |  | RX |  |  |  |  |  |
| MCLR-Vpp |  |  | RESET |  |  |  | X |  |
| Dif. A/D Voltage |  |  | MODV CH0 and CH1 |  |  |  | X |  |
| Dif. A/D Voltage |  |  | CURRV CH2 and CH3 |  |  |  | X |  |

“ALARM”=0

“SUPPLAY”=1

# START

Initialize DISPLAY

Set: “AA”=0

“BB”=0

“CC”=1

“MM”=0

“NN”=0

Read “SUPPLAY”

and “ALARM”

DISPLAY:

“ALARM”

or/and

“SUPPLAY”  and FAIL 1

# STOP

FALSE

1

TRUE

During this 6 min

“CF” and “SSV”

change they states

minimum 2 times

1

Start counting 6 min.

Display:

“CF”

and/or “SSV”  and FAIL 2

# FALSE

# STOP

READ:

“IR”,”HE”,”CF”,”CM”,”EVLO”,

“EVHI”,”SSV”,”LX2”

“DEFROST”,”INRANGE”,”ALARM”

“SUPPLAY”,”RETURN”,”COOL”,”HEAT”

“MODV”,”CURRV”

2

“EVHI”=1 and “CM”=1

“IR”=1 and “INRANGE”=1

“SUPPLAY”=1

“RETURN”=0 and “EVLO”=0 and “LX2”=0

“HE”=0 and “HEAT”=0

“DEFROST”=0 and “ALARM”=0 and “COOL”=1

“MODV”>0

2.5 V<”CURRV”<5 V

2

After 6 min.(Counter stop)

Check This:

DISPLAY:

Display what is FALSE

And FAIL 3

# FALSE

STOP

3

TRUE

“EVHI”=1 and “IR”=1

“CM”=1 and “MODV”=0

“HE”=0 and “EVLO”=0

“SSV”=0 and “LX2”=0

“DEFROST”=0 and “ALARM”=0 and “RETURN”=0 and “HEAT”=0

“SUPPLAY”=1 and “COOL”=0

2.5 V<”CURRV”<5 V

During this 2 min “CF” change status minimum 2 times

3

Change:

Set:

“AA”=0

“BB”=1

“CC”=1

Start counting 2 min.

# Read ALL INPUTS

After 2 min.(Counter stop)

Check this:

4

TRUE

DISPLAY:

Display what is FALSE and

FAIL 4

# FALSE

STOP

“EVHI”=1 and “HE”=1

“CF”=0 and “CM”=0

“EVLO”=0 and “SSV”=0

“LX2”=0 and “DEFROST”=0 and “ALARM”=0 and “SUPPLAY”=1

“RETURN”=0 and “COOL”=0 and “HEAT”=1

“MODV”=0

0.9V<”CURRV”<1.72V

During this 3 min “IR” change status once

4

CHANGE:

Set:

“AA”=1

“BB”=0

“CC”=1

Start counting 3 min

Read ALL INPUTS

After 3 min(Counter stop)

Check this:

5

TRUE

DISPLAY:

Display what is FALSE and FAIL 5

STOP

5

CHANGE

Set:

“AA”=0

“BB”=1

“CC”=1

Start counting 30 sec.

After 30 sec STOP counter

CHANGE:

Set:

“MM”=1 and “NN”=0

And keep that 30 sec

CHANGE:

Set:

“MM”=0 and “NN”=1

And keep that 1 sec.

CHANGE:

Set:

“MM”=0 and “NN”=0

And keep that 2 min.

After this 2 min stop counter and read ALL INPUTS

6

“EVLO”=1 and “CM”=1

“SSV”=1 and “HE”=0

“EVHI”=0 and “LX2”=0

During this 2 min “IR” change status once and “CF” change status minimum 2 times

“DEFROST”=0 and “ALARM”=0 and SUPPLAY”=1 and “RETURN”=0 and “HEAT”=0 and “”COOL”=1

2.5V<”MODV”<5 V

2.5 V<CURRV”<5 V

6

DISPLAY:

Display what is FALSE and

FAIL 6

# STOP

FALSE

7

# TRUE

7

CHANGE:

Set:

“MM”=1 and “NN”=1

And keep that 30 sec.

After that 30 sec counter stop

CHANGE:

Set:

“MM”=0 and “NN”=1

And keep that 1 sec.

CHANGE:

Set:

“MM”=0 and “NN”=0

CHANGE:

Set:

“MDEF”=1

And keep that 2 sec.

8

“LX2”=1 and “HE”=1

“DEFROST”=1 and

“MODV”=0 and “ALARM”=0

8

DISPLAY:

Display what is FALSE

And

FAIL 7

STOP

DISPLAY:

PASS

STOP

FALSE

TRUE

Vcc=5 V

GND