‘pump driver.

‘Pic 16F84

DEFINE OSC 4

‘----------[constants and variables]------------

pump		VAR	PORTB.0		‘switch pump on/off

info		VAR	PORTB.1		‘data being collected

nsamp		VAR	PORTB.2		‘new sample required

autotrig	VAR	PORTB.3		‘trigger autosampler

relay		VAR	PORTB.5		‘pump relay

sampler	VAR	PORTB.6		‘goto autosampler position

led		VAR	PORTB.7		‘switch on led

‘----------[initialisation]------------------------

PORTB	= %00000000			‘all variable values = 0

Pause 10

TRISB		= %11110000			‘B.0 – B.3 inputs, rest outputs.

Pause 10

‘----------[Main]--------------------------------

begin :		if pump = 0 then pumpoff	‘hold pump off

High	relay			‘else switch it on

Pause 5

datasw :	if info   = 0 then sampsw	‘if no data flash led

High	led			‘else keep led on

Pause 5

Goto begin

Sampsw :	if nsamp = 0 then ledoff	‘flash led

Pause 800

High led

Pause 800

Low led

Pause 5

Goto begin

Pumpoff :	Low relay			‘keep pump off

Pause 5

Goto datasw

Ledoff :	Low led

Pause 5

Goto begin

End.